## Slide 1
CO2 Capture Plant
PDC ROOM
OPERATOR ROOM
Analog Monitor Input 225 D… | Analog Control Output 50 D… | Discrete Monitor Input 125… | Discrete Control Output 75… | System Softkey | Sytech Reporter
ProfessionalPLUS Premium WS Software…
Rack WS Win10 Ent RAID1 16GB RAM
[×36] Dual Single Mode Media Converter Assy
Smart Switch 19-inch Rack mount modu…
19inch rack mounted sliding screen
APC UPS
[×8] Fiber optic cable 5 mtr
Hirschmann 8-port rack mount switch
Server Cabinet
PRI CNTR
SEC CNTR
Controller Redundancy
Red. CIOC Carrier with Copper Ethernet
Red. CIOC2 includes 2 CHARMs IO Card 2
CIOC (Auto #3)
CIOC (Auto #4)
CIOC (Auto #5)
CIOC-01
CIOC-02
CIOC-03
CHARM I/O · 3 towers · 24 baseplates
I/O Cabinet #1
CIOC-01
CIOC-02
CIOC-03
CHARM I/O · 3 towers · 24 baseplates
I/O Cabinet #2
FOPP
FOPP DIN m
FOPP
FOPP
Firewall
OWS
WS
Printer
Controller
CIOC
CHARM I/O
Network
EWS/WS
UPS
Fiber/FOPP
Firewall
Power